## O2&Amp#RP2
IOC116 |  | Exp. | Sample | Amount per chamber (mg/chamber) | Condition | Medium | Info | DatLab 7 | CCP Mark Reference: |  | Before | ce | 1D | (M.1) | 2Oct | 3M2 | 4P | 5G | 6S | 7Gp | 8U | 9Rot | 10Ama
0 |  | RP2 | HEK cells |  | Cryopreserved | MiR05Cr |  |  |  | Total volume added (µl) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Polarization V [mV] | Chamber volume (ml) | Concentration/ml (mg/ml) | [5 empty] | Edit the volume added in each step (µl) in the yellow boxes
|  | 500 | 2 | 0
O2k
Edit: select cells
for reference values
[24 empty] | ETS (8U) | ROX (10Ama)
[24 empty] | 0 | 0
Coupling control state
Flux Control Ratio (FCR)
#DIV/0!
[27 empty] | E | [7 empty] | #DIV/0! | #DIV/0!
[8 empty] | O2 Flux analysis | [18 empty] | P | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
ROUTINE, R | ROUTINE | [7 empty] | O2 flow per cells | pmol/(s*Mill) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ETS(mt) |  |  |  | ROX | ROX | F | F | FN | FN | FNS | FNSGp | SGp | ROX
OXPHOS, P | OXPHOS state | [7 empty] | O2 flow per cells (mt) | ROX-corr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | Pathway control state
LEAK, L | LEAK state | [10 empty] | ce | 1D | (M.1) | 2Oct | 3M2 | 4P | 5G | 6S | 7Gp | 8U | 9Rot | 10Ama | ETS | ROX
ETS, E | Electron transport system (ETS; uncoupled) | [7 empty] | Flux Control Ratio |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
ROX | Residual oxygen consumption (rotenone, antimycin A) | [7 empty] | Flux Control Ratio (mt) | ROX-corr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | Sample concentration | mg/ml |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O2k Amp | [7 empty] | Amp summary
H2O2 production | [11 empty] | ce | 1D | (M.1) | 2Oct | 3M2 | 4P | 5G | 6S | 7Gp | 8U | 9Rot | 10Ama
Amplex UltraRed | [8 empty] | H2O2 production corrected for sensitivity decline | pmol/(s*ml) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | H2O2 production corrected for sensitivity decline | pmol/(s*Mill) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | H2O2 production/JO2 | no ROX-corr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Amp analysis
Sensitivity [V/mM]
[11 empty] | Before ce | After ce | S | Ama
Paste the sensitivity from the DatLab (from each H2O2 calibration) in the yellow boxes (O to R boxes)
Correction factor for sensitivity
[11 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[11 empty] | Before | ce | 1D | (M.1) | 2Oct | 3M2 | 4P | 5G | 6S | 7Gp | 8U | 9Rot | 10Ama
[9 empty] | H2O2 production corrected for sensitivity decline | pmol/(s*ml) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | H2O2 production corrected for sensitivity decline and baseline | pmol/(s*ml) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[12 empty] | ce | 1D | (M.1) | 2Oct | 3M2 | 4P | 5G | 6S | 7Gp | 8U | 9Rot | 10Ama
[9 empty] | H2O2 production corrected for sensitivity decline | pmol/(s*Mill) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DatLab 7 Template - Instructions
Graphs: - left panel (top) | O2 flow per cells, no ROX corrected.
- rigth panel (top) | Flux control ratios, normalized to Electron Transport System (ETS) capacity.
- left panel (below) | H2O2 production normalized per Mill cells.
- rigth panel (below) | H2O2/JO2 (no ROX corrected).
Notes: | Fill the line 2 (yellow colored boxes) with the information of your experiment.
Guidelines: Data analysis
1. Perform the data analysis in this sheet.
2. Paste clipboard from DatLab "Mark statistics":
2A. | In DatLab: Mark the standardized sequence of experimental sections on the oxygen flux (from one chamber).
2B. | In DatLab: Select "Marks\Statistics" [F2] → select the specific chamber → select plot for marks: "O2 slope neg." → In channel selection select "Oxygen, O2" → In Copy to clipboard options deselect "Traceability in DatLab-Excel templates" and select "Compatibility mode for older DatLab-Excel templates" → click on "Copy to Clipboard".
2C. | In the Excel template O2&Amp#RP2: Click on the upper yellow cell (L4): "Paste only O2 values (Flux per V) from DatLab. Press [Ctrl+V] to paste" → press [Ctrl+V] to paste.
3. Check the values of the reference flux (ETS) in AC11 and the baseline flux (ROX) for baseline correction in AD11.
4. Edit the volume titrated (µl) in each step (in line 3, P to AA boxes).
5. Edit axis labels and scaling if it is necessary.
6. Paste the DatLab graphs showing the traces for the chamber:
6A. | In DatLab: Select the graph (left mouse click into the graph) → select "Graph\Copy to Clipboard\WMF"
6B. | In the Excel template: Click on the upper yellow cell (A6): "Paste DatLab graph here, reduce to width 22 cm (8 inches)." → press [Ctrl+V] to paste.
6C. | Select the graph (hold shift and sequentially left click onthe graph) → select "Format\Graph\Size" and set the width of the graphs to 22 cm (8 inches).
Amp - H2O2 production analysis
7. Copy the sensitivity (Amp calib.) from the DatLab (from each H2O2 calibration) and paste in the yellow boxes (O to R boxes).
8. Paste clipboard from DatLab "Mark statistics":
8A. | In DatLab: Mark the standardized sequence of experimental sections on the Amp slope (from one chamber).
8B. | In DatLab: Select "Marks\Statistics" [F2] → select the specific chamber → select plot for marks: "Amp slope" → In channel selection select "Amperometric, Amp" → In DatLab: Select "Marks\Statistics" [F2] → select the specific chamber → select plot for marks: "O2 slope neg." → In channel selection select "Oxygen, O2" → In Copy to clipboard options deselect "Traceability in DatLab-Excel templates" and select "Compatibility mode for older DatLab-Excel templates" → click on "Copy to Clipboard".
8C. | In the Excel template: Click on the yellow cell (L37): "Paste Amp slope from the DatLab (use calibration 1: before sample) → press [Ctrl+V] to paste." → press [Ctrl+V] to paste.
9. Copy the Amp graph and click on the yellow cell (A28): "Paste DatLab graph (Amp) here, reduce to width 22 cm (8 inches)" → press [Ctrl+V] to paste.
10. Add the polarization voltage (Amp) used in your experiment (C4).
11. Select lines 1-52 → cut [Ctrl+X] → paste [Ctrl+V] the figure with data lines into a separate table sheet where you collect all results.
Note on C2: Enter information about your experiment.
Note on D2: Enter information about your sample.
Note on E2: Enter the concentration into the O2k chamber (mg tissue per chamber).
Note on F2: Enter information about the experimental conditions of your sample.
Note on G2: Enter the medium used in your experiment.
Note on N3: For dilution corrections, please introduce the volume added (µl) in each step (including AmR, HRP, SOD and H2O2 titrations).
Note on C4: Add information about the polarization voltage used (Amp).
Note on L4: Paste only O2 values (Flux per V) from DatLab. Press [Ctrl+V] to paste" → press [Ctrl+V] to paste.
Note on A6: Paste DatLab graph here, reduce to width 22 cm (8 inches).
Note on A28: Paste DatLab graph (Amp) here, reduce to width 22 cm (8 inches).
Note on L37: Paste Amp slope from the DatLab (calibration 1: before sample) → press [Ctrl+V] to paste.
Note on M49: Baseline: fluorescence in the absence of sample.